## Sheet1
City | Copen Climate | 1. Heating or Cooling Need | 2. Optimal Thermal Mass Level | 3. Recommended Shading Type | 4. Most Effective Insulation | 5. Best HVAC System | 6. Efficient Passive Strategies | 7. Humidification or Dehumidification | 9. Ideal Length-to-Width Ratio for Windows | 10. Optimal Window Glazing Material | 11. Facade Color Recommendation | 12. Suitable Tree for Landscape | 13. Photovoltaic
1. Esfahan | cold semi-arid climate (Bsk) relatively mild winters with some precipitation, and hot, dry summers. (Zone 1) | Esfahan has a hot desert climate with scorching summers, making cooling the major need for most of the year. While winters can be cool, the demand for heating is relatively lower compared to cooling. | A moderate thermal mass is recommended to help absorb and release heat, providing a balance between daytime warmth and nighttime cooling, suitable for Esfahan's climate.Adobe, Rammed Earth, Concrete/ high mass | Adjustable external shading, such as horizontal sunshades or adjustable louvers, and incorporating greenery can effectively control sunlight and reduce heat gain during the hot summers in Esfahan. | Reflective insulation on roofs helps reflect solar radiation, and walls with high R-value provide insulation against the heat, contributing to overall energy efficiency. | In hot and arid climates like Esfahan, evaporative cooling systems are efficient for cooling indoor spaces by using water evaporation. | Traditional Persian architecture often includes courtyard designs, wind towers (Badgirs), and features that promote natural ventilation, providing effective passive strategies for cooling in Esfahan. | Esfahan experiences low humidity levels, so humidification may be required for comfort, especially during dry periods to enhance indoor air quality and comfort. | Vertical windows with a higher height-to-width ratio allow for better natural light penetration while minimizing direct sunlight, enhancing overall energy efficiency./ Small | Low-E coated glass helps control heat transfer while allowing natural light, contributing to energy efficiency and comfort in the hot climate of Esfahan. / Clean on south | Light-colored facades reflect more sunlight, reducing heat absorption and the need for cooling, maximizing energy efficiency in the hot climate of Esfahan. | Pomegranate trees are well-suited for Esfahan's climate, providing shade and ornamental value while being adapted to the arid conditions of the region./Pomegranate grows well under semi-arid conditions and can be grown upto an altitude of 500 m. above m.s.l.. It thrives well under hot, dry summer and cold winter provided irrigation facilities are available. The tree requires hot and dry climate during fruit development and ripening. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwitpqurisyIAxVc9QIHHRWlEcgQFnoECBgQAw&url=https%3A%2F%2Fnhb.gov.in%2Freport_files%2Fpomegranate%2FPOMEGRANATE.htm%23%3A~%3Atext%3DPomegranate%2520grows%2520well%2520under%2520semi%2Cduring%2520fruit%2520development%2520and%2520ripening.&usg=AOvVaw1XHBhnc7VEnFMHBlPLPecH&opi=89978449
2. Qeshm | (BWh) hot summers and mild winters, with minimal rainfall throughout the year. (Zone 1) | Qeshm Gulf experiences hot climates, making cooling the major requirement. | Moderate. Balances temperature variations without excessive heat retention or loss. / light . /correct answer is high | Use adjustable shade structures to control sunlight and radiation exposure. | Reflective coatings on roofs to minimize heat absorption and maintain cool interiors. | Provides efficient cooling without the need for extensive ductwork. (Ductless Split System). | Traditional wind-capturing towers for natural ventilation and cooling. Utilizes partially buried structures for natural insulation and cooling. | Qeshm Gulf has high humidity levels, requiring dehumidification for comfort. | Optimizes daylighting and views while minimizing direct sunlight. (Horizontal) | Balances insulation and light transmission, enhancing energy efficiency. (Low-E) | Light-colored facades reflect sunlight, reducing heat absorption. | Tamarisk trees can provide shade and adapt to the salt-rich coastal environment./Climatically, tamarisks are best suited to arid and semi-arid zones9. These species have specialised roots that can draw water from deep underground, but are also capable of extracting water from unsaturated soil layers (a facultative phreatophyte).https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwiY5_u2isyIAxUm9wIHHV07DaIQFnoECBoQAw&url=https%3A%2F%2Fforest.jrc.ec.europa.eu%2Fmedia%2Fatlas%2FTamarix_spp.pdf&usg=AOvVaw3oRjqfCU1sZP68JTNKeLhZ&opi=89978449
3. Yazd | hot desert climate (BWh) Hot-Dry (Zone 1) | Yazd experiences hot summers, making cooling the major requirement. | Utilizes high thermal mass for effective heat storage during the day and release at night.Adobe, Rammed Earth, Concrete | Blocks direct sunlight while allowing indirect light and ventilation. (Exterior Sun Shades (e.g., brise-soleil))./ operable window | Earth-Based Insulation. / A radiant barrier | Utilizes evaporative cooling systems suitable for dry climates like Yazd. | Traditional wind-capturing towers for natural ventilation and cooling.Utilizes buried pipes to pre-cool air before entering the building. Provides natural insulation against extreme temperatures in arid climates. (Wind Towers,Earth Tube Cooling) | Yazd has low humidity levels; additional humidification is usually not required. / Humidify | Optimizes daylighting and views while minimizing direct sunlight. (Horizontal)./ Maximize vertical height between air inlet and outlet | Balances insulation and light transmission, enhancing energy efficiency. (Low-E) | Light-colored facades reflect sunlight, reducing heat absorption. | Provide shade and reduce outdoor temperatures, enhancing comfort.
4. Tehran | Most of Tehran has a cold semi-arid climate (BSk). cold semi-arid. relatively mild winters with some precipitation, and hot, dry summers. Hot-Dry (Zone 1) | Tehran experiences hot summers, making cooling the major requirement. | moderate. Balances temperature variations without excessive heat absorption.Adobe, Rammed Earth, Concrete./ High mass | Allows control over sunlight and shading based on radiation and temperature. | Ensures optimal thermal resistance for walls and roofs in diverse climates. (High-performance Insulation (e.g., fiberglass)./ A radiant barrier (shiny foil) | Efficiently cools and heats different zones with individual temperature control. (VRF)./ Evaporative cooler | Utilizes traditional wind-capturing towers for natural ventilation and cooling.Buried or partially buried structures for natural insulation and cooling. (Wind Catchers,Earth Sheltering) | Tehran has low humidity levels, requiring dehumidification for comfort./ noun | Optimizes daylighting and views while minimizing direct sunlight. (Horizontal). /Maximize vertical height between air inlet and outlet | Balances insulation and light transmission, enhancing energy efficiency. (Low-E) | Light-colored facades reflect sunlight, reducing heat absorption. | Provide shade in summer and allow sunlight in winter, enhancing comfort. | Tehran receives abundant sunlight, making PV panels a profitable investment.
5. Tabriz (Dsa)/ (Bsk) | (Dsa), which signifies a cold semi-arid climate with hot summers. This means Tabriz experiences relatively cold winters with some precipitation, and hot, dry summers. Hot-Dry (Zone 1) | Tabriz experiences cold winters, making heating the major need for a significant portion of the year. While summers are warm, the demand for cooling is relatively lower. | A high thermal mass is recommended to absorb and store heat during the day and release it at night, providing a more stable indoor temperature, especially during the cold winters in Tabriz. | Adjustable external shading, such as blinds or awnings, combined with vegetation for additional shade, is effective in controlling sunlight and reducing heat gain during warmer periods in Tabriz. | Insulating walls and roofs with materials that have a high R-value helps prevent heat loss in winter and heat gain in summer, ensuring a comfortable indoor environment throughout the year. (High R-value)./ Super insulation | Radiant heating systems, such as underfloor heating, are effective in providing consistent and efficient heating, particularly suitable for the cold climate of Tabriz./ | Incorporating Trombe walls, optimizing thermal mass, and utilizing natural ventilation are efficient passive strategies for both heating and cooling in Tabriz's variable climate. | Tabriz tends to have low humidity levels, so humidification may be required during the winter months to enhance indoor comfort and well-being. | Vertical windows with a higher height-to-width ratio allow for better natural light penetration while minimizing direct sunlight, enhancing overall energy efficiency. | Low-E coated glass helps control heat transfer while allowing natural light, contributing to energy efficiency and comfort in the variable climate of Tabriz. | Dark-colored facades absorb more sunlight, maximizing heat gain during the colder months and contributing to energy efficiency in the heating-dominant climate of Tabriz. | Oak trees are suitable for Tabriz, providing shade in the summer and allowing sunlight in the winter, making them suitable for enhancing outdoor comfort in the city./ Oak trees thrive the best in Mediterranean climates. Climates with dry summers and wet winters are the best for oaks. You can also find oaks in temperate climates and tropical climates. Oaks are found in the Northern Hemisphere. | Given the ample sunlight in Tabriz, Photovoltaic panels can be profitable for harnessing solar energy and reducing electricity costs, especially during the warmer months.
6. Zahedan | (BWh)hot desert climate. This means Zahedan experiences extremely hot summers and mild winters, with very little precipitation throughout the year. Hot-Dry (Zone 1) | Zahedan experiences hot climates, making cooling the major requirement. | High thermal mass using materials like adobe, rammed earth, or concrete is recommended. These materials can absorb and store heat during the day and release it at night, providing a more stable indoor temperature. | Blocks direct sunlight while allowing indirect light and ventilation. (Exterior Sun Shades (e.g., owning)./ operable window | Reflects radiant heat, keeping the building cooler in hot climates. | Effective in arid climates, providing cooling through water evaporation. (Evaporating cooling) | Traditional wind-capturing towers for natural ventilation and cooling.Utilizes internal courtyards for passive cooling and ventilation. (Wind Catchers,Courtyard Design) | Zahedan typically has low humidity levels; additional humidification is usually not required./ humidify | Optimizes daylighting and views while minimizing direct sunlight. (Horizontal.) | Balances insulation and light transmission, enhancing energy efficiency. (low-E) | Light-colored facades reflect sunlight, reducing heat absorption. | Mesquite trees can provide shade and adapt to the arid climate of Zahedan./The honey mesquite prefers temperatures in the range of 59 to 95 ℉ (15 to 35 ℃). This plant is native to areas with high temperatures during the day and cool temperatures at night. During the summer months, it can withstand high temperatures but requires proper watering.
7. Rasht | humid subtropical climate (Cfa) warm-summer Mediterranean climate. This means Rasht experiences mild, wet winters and warm, humid summers. Warm-Humid (Zone 3) | Rasht experiences a humid subtropical climate with mild winters and warm, humid summers. The major need is for cooling due to the higher temperatures and humidity levels during the summer. | A moderate thermal mass is recommended to help absorb and release heat, providing a balance between daytime warmth and nighttime cooling, suitable for Rasht's humid subtropical climate./ light weight. | Adjustable external shading, such as blinds or awnings, combined with greenery, can effectively control sunlight and enhance comfort by reducing heat gain during warmer periods in Rasht. | Reflective insulation on roofs helps reflect solar radiation, and walls with high R-value insulation provide effective thermal resistance, reducing heat transfer in Rasht's climate./ Reflective insulation systems are among the most effective energy efficient products for application in arid climates.https://www.google.com/url?sa=i&url=https%3A%2F%2Fwww.sciencedirect.com%2Fscience%2Farticle%2Fabs%2Fpii%2FS221067071931217X&psig=AOvVaw2CVaC9KJUv00DSaYs_uGlZ&ust=1726764407787000&source=images&cd=vfe&opi=89978449&ved=0CAYQrpoMahcKEwjojNjq-MyIAxUAAAAAHQAAAAAQBA | VRF systems offer efficient cooling and heating with variable capacity, adapting to the changing needs of the building in Rasht's varying climatic conditions, ensuring year-round comfort. | Utilizing natural ventilation, incorporating vegetation for shading, and utilizing earth as insulation are effective passive strategies for cooling and heating in Rasht's climate. (Natural ventilation, Shading with vegetation, Earth sheltering) | Due to Rasht's humid climate, dehumidification may be required, especially during periods of increased humidity, to enhance indoor comfort and prevent issues related to excessive moisture. | A balanced length-to-width ratio for windows provides a compromise, allowing sufficient natural light while controlling direct sunlight, enhancing overall energy efficiency in Rasht. ./high ceilings and tall operable (French) windows | Low-E coated glass helps control heat transfer while allowing natural light, contributing to energy efficiency and comfort in the humid subtropical climate of Rasht. | Light-colored facades reflect more sunlight, reducing heat absorption and the need for cooling, maximizing energy efficiency in the humid subtropical climate of Rasht. | Plane trees are well-suited for Rasht's climate, providing ample shade with their broad canopies and enhancing outdoor comfort in the city./ temperate climates but can tolerate a range of conditions. (https://www.google.com/url?sa=i&url=https%3A%2F%2Fcales.arizona.edu%2Fyavapai%2Fanr%2Fhort%2Fbyg%2Farchive%2Flondonplane.html&psig=AOvVaw3Ot7SIT358Sh1tgS0sqIcm&ust=1726732720663000&source=images&cd=vfe&opi=89978449&ved=0CAYQrpoMahcKEwiIk-6Ig8yIAxUAAAAAHQAAAAAQBA) | While Rasht may not have as much sunlight as some other regions, Photovoltaic panels can still be profitable for harnessing solar energy and reducing electricity costs in the area.
8. Bandar Abbas | hot desert climate (BWh) Hot-Dry (Zone 1) | Bandar Abbas experiences extremely high temperatures throughout the year, making cooling the major need for comfort. While heating needs are minimal, cooling is essential for most of the year. | High thermal mass materials, such as concrete, adobe, or rammed earth, are recommended. These materials can absorb and store heat during the day and release it at night, providing a more stable indoor temperature./ Light | Adjustable external shading, such as horizontal sunshades or adjustable louvers, is recommended to control sunlight and reduce heat gain, considering the intense radiation in Bandar Abbas. | Reflective insulation on roofs, such as reflective foil or radiant barriers, helps deflect sunlight. Walls with high R-value insulation, using materials like foam boards or fiberglass, provide effective thermal resistance against the high temperatures. | VRF systems offer efficient cooling with variable capacity, adapting to the extreme temperatures in Bandar Abbas and providing flexibility to match the building's specific needs. | Utilizing natural ventilation, creating shaded courtyards, and incorporating earth sheltering are effective passive strategies for cooling in Bandar Abbas's hot and arid climate. (Natural ventilation, Courtyard design, Earth sheltering) | Bandar Abbas typically has low humidity levels, so dehumidification may be required for comfort, especially during the hot periods, to enhance the perception of coolness. | Vertical windows with a higher height-to-width ratio allow for better natural light penetration while minimizing direct sunlight, enhancing overall energy efficiency in Bandar Abbas. | Low-E coated glass reduces heat transfer and glare while allowing natural light, contributing to energy efficiency and comfort in the hot and sunny climate of Bandar Abbas. | Light-colored facades reflect more sunlight, reducing heat absorption and the need for cooling, maximizing energy efficiency in the hot climate of Bandar Abbas. | Date Palms are well-suited for the arid climate of Bandar Abbas, providing shade and contributing to the aesthetics of the landscape./ arid and semi-arid regions (https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjVxeefg8yIAxVC7rsIHTOYMngQFnoECBUQAw&url=https%3A%2F%2Fwww.fao.org%2F4%2FY4360E%2Fy4360e08.htm%23%3A~%3Atext%3DDate%2520palm%2520is%2520cultivated%2520in%2Cfor%2520several%2520days%2520under%2520irrigation.&usg=AOvVaw3y7M5wfU2AkmIMCbw1ncom&opi=89978449)
9. Bandar Anzali | humid subtropical climate (Cfa) Warm-Humid (Zone 3) | Bandar Anzali experiences a humid subtropical climate with hot and humid summers, making cooling the major need for most of the year. While winters can be cool, the demand for heating is relatively lower. | Moderate. 5Lightweight concrete with high thermal mass properties is recommended for walls and floors. This material helps absorb and release heat gradually, providing balance for temperature fluctuations. / lightweight | Adjustable external shading, such as horizontal sunshades or adjustable louvers, is effective in controlling sunlight and reducing heat gain during the hot and humid summers in Bandar Anzali. | Reflective insulation on roofs, such as radiant barriers, helps reflect solar radiation. Walls with high R-value insulation, like fiberglass or foam boards, provide effective thermal resistance. | VRF systems offer efficient cooling with the flexibility to adapt to the changing needs of the building, ensuring comfort in the humid subtropical climate of Bandar Anzali. | Utilizing natural ventilation, incorporating vegetation for shading, and earth sheltering are effective passive strategies for cooling in Bandar Anzali's hot and humid climate. (Natural ventilation, Shading with vegetation, Earth sheltering) | Bandar Anzali has high humidity levels, so dehumidification may be necessary for comfort, especially during periods of increased humidity, to enhance indoor air quality and comfort. | Vertical windows with a higher height-to-width ratio allow for better natural light penetration while minimizing direct sunlight, enhancing overall energy efficiency in Bandar Anzali. | Low-E coated glass helps control heat transfer while allowing natural light, contributing to energy efficiency and comfort in the hot and humid climate of Bandar Anzali. | Light-colored facades reflect more sunlight, reducing heat absorption and the need for cooling, maximizing energy efficiency in the hot and humid climate of Bandar Anzali. | Casuarina equisetifolia, known as the Australian Pine, is suitable for Bandar Anzali's coastal climate. It provides shade and tolerates salt spray, making it suitable for landscaping in the city.arid and semi-arid climates with average annual rainfall <300 mm. (https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwiqoPeyg8yIAxU58bsIHfvVJccQFnoECBUQAw&url=https%3A%2F%2Fwinrock.org%2Fcasuarina-equisetifolia-an-old-timer-with-a-new-future%2F%23%3A~%3Atext%3Dof%2520moisture%2520availability.-%2CC.%2Caverage%2520annual%2520rainfall%2520%253C300%2520mm.&usg=AOvVaw2p6E6xDvPV6FecrNug9tX9&opi=89978449)
10. Shiraz | cold semi-arid climate (BSk) Hot-Dry (Zone 1) | Shiraz experiences hot summers, making cooling the major need for most of the year. While winters can be cool, the demand for heating is relatively lower compared to cooling. | A moderate thermal mass is recommended to help absorb and release heat, providing a balance between daytime warmth and nighttime cooling. AAC is a lightweight material with good thermal properties../ High | Adjustable external shading, such as horizontal sunshades or adjustable louvers, is effective in controlling sunlight and reducing heat gain during the hot summers in Shiraz. | Reflective insulation on roofs helps reflect solar radiation, and walls with high R-value provide insulation against the heat, contributing to overall energy efficiency. | VRF systems offer efficient cooling with the flexibility to adapt to the changing needs of the building, ensuring comfort in Shiraz's varying climatic conditions. | Utilizing natural ventilation, incorporating vegetation for shading, and incorporating courtyards are effective passive strategies for cooling in Shiraz's hot climate. (Natural ventilation, Shading with vegetation, Courtyard design) | While Shiraz has low humidity levels, dehumidification may be necessary during periods of increased humidity to enhance comfort, especially in the hot summer months./ humidify | Vertical windows with a higher height-to-width ratio allow for better natural light penetration while minimizing direct sunlight, enhancing overall energy efficiency. | Low-E coated glass helps control heat transfer while allowing natural light, contributing to energy efficiency and comfort in the hot climate of Shiraz. | Light-colored facades reflect more sunlight, reducing heat absorption and the need for cooling, maximizing energy efficiency in the hot climate of Shiraz. | Deciduous trees provide shade in the summer and allow sunlight in the winter, making them suitable for Shiraz's hot and dry climate./ warm and cold air masses, which cause this area to have four seasons. mid-latitude areas which means that they are found between the polar regions and the tropics. (https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjE2uWKhMyIAxUY7wIHHVIwF5oQFnoECBUQAw&url=https%3A%2F%2Fearthobservatory.nasa.gov%2Fbiome%2Fbiotemperate.php%23%3A~%3Atext%3DTemperate%2520deciduous%2520forests%2520are%2520located%2Carea%2520to%2520have%2520four%2520seasons.&usg=AOvVaw3ZxLvrysc134qdk2JKQ7Sg&opi=89978449)Deciduous forest is found in three middle-latitude regions with a temperate climate characterized by a winter season and year-round precipitationhttps://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwj0m9SQl8yIAxXL0wIHHWYGFgQQFnoECBkQAw&url=https%3A%2F%2Fwww.britannica.com%2Fscience%2Fdeciduous-forest%23%3A~%3Atext%3DDeciduous%2520forest%2520is%2520found%2520in%2Cand%2520around%2520bodies%2520of%2520water.&usg=AOvVaw1tUmhVWf6EXwzl08A4aMRy&opi=89978449
11. London | temperate oceanic climate (Cfb) mild, wet winters and cool, relatively wet summers. Temperate-Marine (Zone 5) | London experiences a temperate maritime climate with relatively mild winters, making heating more essential than cooling. | A moderate thermal mass level, such as concrete, helps to stabilize indoor temperatures by absorbing and releasing heat as needed./ Low mass | Exterior shading, such as overhangs or louvers, is effective in reducing solar radiation and maintaining comfortable indoor temperatures./ my own answerbased on others | High-performance insulation, like Structural Insulated Panels (SIPs), offers superior thermal resistance for both walls and roofs. | VRF systems provide efficient heating and cooling with precise temperature control, suitable for London's varying climate. | Cross-ventilation and night purge ventilation utilize natural airflow to cool or warm the building without relying on mechanical systems. | London generally experiences higher humidity levels; therefore, dehumidification is more likely needed for comfort and health. | Vertical windows provide better daylighting and allow for efficient control of direct sunlight, contributing to energy savings. | Low-emissivity coated glass helps control heat transfer, reducing the need for excessive heating or cooling and enhancing energy efficiency. | Light-colored facades reflect more sunlight, reducing heat absorption and minimizing the urban heat island effect for increased efficiency. | The London Plane Tree is well-suited for urban environments, providing shade, reducing heat, and contributing to overall aesthetic appeal./ the London plane is the capital's most common tree.temperate climates but can tolerate a range of conditions. (https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwi1gfHDhMyIAxUr7QIHHbeCD5AQFnoECBUQAw&url=https%3A%2F%2Fwww.treehelp.com%2Fpages%2Flondon-planetree%23%3A~%3Atext%3DClimate%253A%2520London%2520Plane%2520Trees%2520thrive%2Cwet%2520and%2520dry%2520soil%2520conditions.&usg=AOvVaw2fwNxw_EpN20SxfOgnpsaB&opi=89978449)
12. Berlin | oceanic climate (Cfb) / (Dfb) Temperate-Marine (Zone 5) | Berlin has a continental climate with cold winters, indicating a greater need for heating rather than cooling. | High thermal mass, such as brick, helps absorb and store heat, contributing to more stable indoor temperatures in Berlin's varied climate./low | Adjustable louvers provide flexibility in controlling sunlight and radiation, allowing for optimal shading based on changing weather conditions. | High-density mineral wool insulation offers excellent thermal resistance for both walls and roofs, crucial for retaining warmth in cold seasons. | GSHP systems efficiently extract heat from the ground, providing reliable and energy-efficient heating for Berlin's colder climate./ furnace | Trombe walls absorb and radiate heat, while earth sheltering provides insulation, enhancing passive heating and cooling capabilities. | Berlin can experience low humidity levels, especially in winter. Humidification helps maintain a comfortable indoor environment for occupants. | Balanced window ratios provide uniform daylighting, preventing excessive glare or shadows, and contribute to energy efficiency. | Triple glazed windows with low-emissivity coating offer superior insulation, minimizing heat loss and enhancing energy efficiency in cold weather. | Dark-colored facades can absorb and retain more heat, aiding in passive solar heating during colder months in Berlin's continental climate. | The European Beech is well-suited for Berlin's climate, providing shade in summer and allowing sunlight through in winter, supporting energy efficiency. temperate climate with temperatures ranging from 41 to 90 ℉ (5 to 32 ℃). It can tolerate cold winters and warm summers, adjusting to temperatures between 32 to 68 ℉ (0 to 20 ℃) in the winter and up to 86 ℉ (30 ℃) in the summer. (https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjtl4HbhMyIAxVj1AIHHeAiD3MQFnoECBkQAw&url=https%3A%2F%2Fwww.picturethisai.com%2Fcare%2Ftemperature%2FFagus_sylvatica.html%23%3A~%3Atext%3DThe%2520european%2520beech%2520plant%2520originating%2C30%2520%25E2%2584%2583)%2520in%2520the%2520summer.&usg=AOvVaw0ypZUyGexAZoQmAm7nGRpS&opi=89978449)Definition: Tropical deciduous forests occur in regions with heavy rainfall for part of the year followed by a marked dry season. These forest formations are dense and lush during the wet summers, but become a dry landscape during the dry winters when most trees shed their leaves.https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwj0m9SQl8yIAxXL0wIHHWYGFgQQFnoECB4QAw&url=https%3A%2F%2Favianreport.com%2Ftropical-deciduous-forests%2F%23%3A~%3Atext%3DDefinition%253A%2520Tropical%2520deciduous%2520forests%2520occur%2Cmost%2520trees%2520shed%2520their%2520leaves.&usg=AOvVaw1T8YLC1zTggKkU8nxEK_hX&opi=89978449
13. Barcelona | Mediterranean climate (Csa) warm-summer Mediterranean climate. This means Barcelona experiences hot, dry summers and mild, wet winters. Warm-Humid (Zone 3) | Barcelona has a Mediterranean climate with hot summers, making cooling a major requirement for indoor comfort. | Moderate thermal mass, such as concrete, helps absorb and release heat slowly, providing thermal comfort in Barcelona's temperature variations./ light | Adjustable louvers offer flexibility in controlling sunlight, reducing solar heat gain while allowing for daylight and maintaining visual comfort. | Reflective coatings for roofs and well-insulated walls help in minimizing heat absorption and maintaining cooler indoor temperatures. | VRF systems provide efficient and precise cooling, adapting to varying cooling demands in Barcelona's hot climate. | Utilizing natural ventilation and thermal chimneys enhances passive cooling, allowing fresh air circulation and heat dissipation. | Barcelona can experience high humidity levels, especially in summer. Dehumidification helps in maintaining a comfortable indoor environment. | Horizontal windows provide effective shading against high sun angles in Barcelona's climate, reducing solar heat gain and optimizing natural light. | Low-emissivity coated glass helps control heat transfer, reducing the need for excessive cooling and enhancing energy efficiency in warm weather. | Light-colored facades reflect more sunlight, reducing heat absorption and contributing to a cooler building envelope in Barcelona's warm climate. | The Olive Tree is well-adapted to Barcelona's Mediterranean climate, providing shade and enhancing the urban landscape with a touch of local flora./Mediterranean-like climate to survive. They need a long, hot summer and a cool, not frigid, winter. A mature tree can survive temperatures down to 15 degrees Fahrenheit for a limited amount of time; sustained cold below 15 degrees can be fatal.(https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjPsNH2hMyIAxX-zwIHHZ0-M7YQFnoECBUQAw&url=https%3A%2F%2Fwww.mcevoyranch.com%2Fpages%2Foptimum-climate-and-olive-varieties%23%3A~%3Atext%3DOlive%2520trees%2520require%2520a%2520Mediterranean%2C15%2520degrees%2520can%2520be%2520fatal.&usg=AOvVaw10PmGuJC-bYsHxgRfA57Fy&opi=89978449) | With abundant sunlight, Barcelona offers favorable conditions for photovoltaic panels, making them a potentially profitable and sustainable investment.
14. Stockholm | warm-summer humid continental climate (Dfb)relatively mild summers with moderate precipitation and cold, snowy winters. Cold (Zone 6) | Stockholm has a cold, subarctic climate with significant winter temperatures, making heating a major necessity. | High thermal mass materials like concrete help retain and distribute heat, stabilizing indoor temperatures in Stockholm's cold climate.// low | Adjustable blinds provide control over solar radiation, allowing for efficient shading during warmer months while permitting sunlight in winter. | Aerogel insulation offers superior thermal performance for walls and roofs, minimizing heat loss and maximizing energy efficiency in cold climates. | District heating systems with heat recovery enhance energy efficiency by utilizing waste heat, providing an effective solution for Stockholm's heating needs./ furnace | Passive solar design utilizes sunlight for heating, while thermal mass helps store and release heat, reducing reliance on active heating systems. (Passive Solar Design and Thermal Mass) | Stockholm experiences low humidity levels, especially in winter. Humidification is essential for maintaining a comfortable indoor environment. | Vertical windows allow for efficient daylighting and solar heat gain control, contributing to energy savings and improved comfort. | Low-emissivity coated triple glazed windows provide excellent insulation, reducing heat loss and enhancing energy efficiency in cold climates. | Light-colored facades reflect more sunlight, reducing heat absorption in summer, and can contribute to a brighter, more comfortable interior. | Silver Birch is well-suited for Stockholm's climate, providing visual appeal, shade, and wind protection without overshadowing sunlight./a temperature range of 60°F to 75°F (15°C to 24°C)cold and temperate regions https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjWq-WZhcyIAxUY7wIHHVIwF5oQFnoECBUQAw&url=https%3A%2F%2Fgreg.app%2Fsilver-birch-temperature%2F%23%3A~%3Atext%3DThe%2520Sweet%2520Spot%253A%2520Ideal%2520Temperature%2520Range%2520for%2520Silver%2520Birch%26text%3DSilver%2520Birch%2520trees%2520thrive%2520in%2Cphotosynthesis%2520without%2520stressing%2520the%2520tree.&usg=AOvVaw3ktnyznqFil5_siI3-ksg7&opi=89978449
15. Warsaw | oceanic (Dfb) mild summers with moderate precipitation and cold, snowy winters. Cold (Zone 6) | Warsaw experiences a continental climate with cold winters, making heating a primary requirement for indoor comfort. | High thermal mass, such as brick, helps stabilize indoor temperatures by absorbing and releasing heat, essential in Warsaw's variable climate./ low | Fixed overhangs provide consistent shading, preventing excessive solar radiation during the summer while allowing sunlight in the winter./ Insulating blinds, heavy draperies, or operable window shutters | Polyurethane foam insulation offers high thermal resistance for both walls and roofs, providing effective insulation against Warsaw's cold temperatures.High insulating performance: /Of all today's conventional insulating materials PU offers the highest insulating performance as it has a much lower thermal conductivity value than insulating materials such as polystyrene, mineral wool, glass wool or hemp. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjljovx-8yIAxV2m_0HHdUEDOEQFnoECB4QAw&url=https%3A%2F%2Fsolutions.covestro.com%2Fen%2Fhighlights%2Farticles%2Fstories%2Fbuilding-efficiency%2Fbenefits-of-pu-insulation%23%3A~%3Atext%3DHigh%2520insulating%2520performance%253A%2520Of%2520all%2Cwool%252C%2520glass%2520wool%2520or%2520hemp.&usg=AOvVaw3OoE-di7TfxcpILkqCgBo5&opi=89978449 | Air-to-water heat pumps efficiently extract heat from the air for space heating and hot water, suitable for Warsaw's winter climate./ High Efficiency furnace ,Super tight buildings need a fan powered HRV or ERV (Heat or Energy Recovery Ventilator) | Trombe walls capture and store solar heat, while green roofs provide insulation and mitigate heat in summer, contributing to passive heating and cooling. | Warsaw can experience low humidity levels, especially in winter. Humidification helps maintain a comfortable indoor environment for occupants. | Vertical windows provide better daylighting, minimizing solar heat gain in the summer and enhancing energy efficiency throughout the year. | Triple glazed windows with low-emissivity coating offer enhanced insulation, reducing heat loss in winter and improving energy efficiency overall. | Dark-colored facades can absorb and retain more heat, aiding in passive solar heating during colder months in Warsaw's continental climate. | Oak trees are well-suited for Warsaw's climate, providing shade in summer and allowing sunlight through in winter, supporting energy efficiency./ Mediterranean climatesdry and hot summer and a cool and rainy winter. Climates with dry summers and wet winters are the best for oaks. You can also find oaks in temperate climates and tropical climates. Oaks are found in the Northern Hemisphere. (https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjw9Yq2hcyIAxV6xAIHHQzFMGwQFnoECBsQAw&url=https%3A%2F%2Fhomework.study.com%2Fexplanation%2Fin-what-natural-environment-do-oak-trees-thrive-and-why.html%23%3A~%3Atext%3DOak%2520trees%2520thrive%2520the%2520best%2Cfound%2520in%2520the%2520Northern%2520Hemisphere.&usg=AOvVaw1KsuGZuGGhYeD3N2P9kGLs&opi=89978449)
16. Kyiv | warm-summer humid continental climate (Dfb) Cold (Zone 6) | Kyiv experiences a continental climate with cold winters, indicating a greater need for heating than cooling. | High thermal mass, such as concrete, helps retain heat in colder temperatures and provides a stable indoor environment in Kyiv's climate./ low | Overhangs provide effective shading against direct sunlight, preventing overheating in summer while allowing sunlight in winter for passive heating. | PIR insulation offers high thermal resistance, essential for minimizing heat loss in walls and roofs during Kyiv's cold winter months. . /PIR, like PUR, is known for use as a low-moisture barrier.https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwi-5vzH_cyIAxWYg_0HHckID48QFnoECBgQAQ&url=https%3A%2F%2Fwww.kingspan.com%2Fus%2Fen%2Fknowledge-articles%2Fpur-vs-pur%2F&usg=AOvVaw2HRQ2LbUdtP9gqBxgXH8tk&opi=89978449. PIR and PUR are both made of polyurthan | ASHP systems efficiently extract heat from the air, providing reliable and energy-efficient heating for Kyiv's continental climate. (Air Source Heat Pump (ASHP))./ furnace | Solar chimneys promote natural ventilation, and night ventilation flushes out accumulated heat, contributing to passive cooling in summer. | Kyiv can experience low humidity levels, especially in winter. Humidification helps maintain a comfortable indoor environment for occupants. | Balanced window ratios provide uniform daylighting, preventing excessive glare or shadows and contribute to energy efficiency in Kyiv's climate. | Low-E triple glazed windows offer superior insulation, reducing heat loss in winter and minimizing heat gain in summer, enhancing overall energy efficiency. | Light-colored facades reflect more sunlight, reducing heat absorption and minimizing the urban heat island effect, contributing to energy efficiency. | The Linden tree is well-suited for Kyiv, providing shade in summer and allowing sunlight through in winter, supporting energy efficiency./ Lindens are undemanding trees that cope well with an occasional dry spell. However, they do prefer warm and sunny to semi-shady locations, and grow best in well-drained and well-aerated soil. Importantly, there are a few differences between large-(https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwiir7qyh8yIAxUg0AIHHVP9C5wQFnoECBUQAw&url=https%3A%2F%2Fplantura.garden%2Fuk%2Ftrees-shrubs%2Flinden-tree%2Flinden-tree-overview%23%3A~%3Atext%3DLindens%2520are%2520undemanding%2520trees%2520that%2Cand%2520small%252Dleaved%2520linden%2520trees.&usg=AOvVaw0sSqjm2CnqbwrAawFh-dRt&opi=89978449) | Kyiv supports renewable energy initiatives, making photovoltaic panels a potentially profitable investment, especially with available incentives.
17. Athens | twarm-summer Mediterranean climate. hot, dry summers and mild, wet winters. (Csa) Warm-Humid (Zone 3) | Athens has a Mediterranean climate with hot summers, indicating a greater need for cooling rather than heating. | Moderate thermal mass, such as stone, helps absorb and release heat gradually, contributing to temperature regulation in Athens' warm climate./ light | Perforated screens provide effective shading while allowing some sunlight through, striking a balance between blocking radiation and maintaining daylight. | Reflective coatings on the roof reduce heat absorption, and high R-value insulation in walls helps prevent heat transfer, keeping the building cool. | VRF systems offer efficient cooling and heating with precise temperature control, suitable for the varying climate in Athens. | Utilizing natural ventilation and incorporating thermal mass helps cool the building passively by promoting airflow and storing coolness. | Athens experiences higher humidity levels, especially during the hot season. Dehumidification helps enhance comfort by reducing excess moisture. | Vertical windows allow for better control of direct sunlight, minimizing heat gain and glare, and promoting effective natural ventilation. | Low-emissivity coated glass helps control heat transfer, reducing the need for excessive cooling and enhancing energy efficiency in a hot climate./ but south | Light-colored facades reflect more sunlight, reducing heat absorption and minimizing the urban heat island effect for increased efficiency in hot weather. | The Olive Tree is well-adapted to the Mediterranean climate, providing shade, enhancing aesthetics, and requiring minimal water, suitable for Athens.
18. Rome | Mediterranean climate (Csa) Warm-Humid (Zone 3) | Rome has a Mediterranean climate with hot summers, making cooling the primary need for indoor comfort in most of the year. | Moderate thermal mass, such as stone, helps absorb and release heat slowly, assisting in maintaining comfortable temperatures in a Mediterranean climate. / low | Adjustable awnings provide effective shading from direct sunlight, allowing for control over the amount of light and heat entering the building. | Reflective foil insulation helps reflect radiant heat, keeping the building cooler in the hot climate of Rome./ most iffective fiberglass or foam | VRF systems offer efficient and precise cooling, adapting to varying cooling loads in Rome's Mediterranean climate. | Leveraging natural ventilation and courtyard design promotes airflow, enhancing passive cooling in Rome's warm climate. | Dehumidification may be required, especially during the hot summer months when relative humidity can rise, ensuring comfort for occupants. | Horizontal windows provide better shading against the high angle of the sun in the Mediterranean climate, reducing heat gain. /maximize vertical height | Low-emissivity coated glass helps control solar heat gain and improve energy efficiency while allowing for ample natural light in Rome's sunny climate. But south | Light-colored facades reflect sunlight, reducing heat absorption and maintaining a cooler indoor environment in Rome's warm climate. | The Olive Tree is well-adapted to the Mediterranean climate, providing shade and enhancing the aesthetics of the landscape in Rome. | Rome's sunny climate makes photovoltaic panels a potentially profitable investment, harnessing abundant sunlight for energy generation.
19. Budapest | oceanic or maritime temperate climate. (Cfb) cool, wet winters and mild, relatively wet summers. Temperate-Marine (Zone 5) interaction of two major climate systems: the continental climate and the oceanic climate. The influence of both these systems is felt across the country at different times, which means that the weather is very changeable. | Budapest has a continental climate with cold winters, making heating a primary requirement for indoor comfort, especially during the colder months. (The city's inclusion in this climate zone is a relatively new phenomenon; a humid continental (Köppen: Dfa, Trewartha: Dc) classification was applicable until, at the very least, the early 2010s.[1]) | Moderate thermal mass, such as brick, helps in retaining and releasing heat gradually, contributing to maintaining consistent indoor temperatures in a continental climate./ light | Vertical louvers effectively block low-angle winter sun and reduce glare from high-angle summer sun, providing efficient shading year-round./ based on others | Spray foam insulation (SPF) offers excellent thermal resistance for both walls and roofs, providing effective insulation against the cold in Budapest./ spray polyorthan foam | Gas boilers with radiators or underfloor heating systems are effective for providing consistent heating during Budapest's cold winters. | Trombe walls absorb and radiate heat, and insulated windows help in minimizing heat loss during colder periods, enhancing passive heating. | During winter, Budapest may experience low humidity levels, requiring humidification to maintain a comfortable and healthy indoor environment. | Vertical windows provide better solar gain and daylighting in winter, contributing to passive heating and reducing the need for artificial lighting. | Double-glazed windows with low-emissivity coating provide enhanced insulation, reducing heat loss and improving energy efficiency in colder temperatures./ but south | Dark-colored facades can absorb and retain more heat, contributing to passive solar heating during colder periods in Budapest's continental climate. | The Linden Tree is well-suited for Budapest's climate, providing shade in summer and allowing sunlight through in winter, supporting energy efficiency.
20. Copenhagen | oceanic climate zone (Cfb) Temperate-Marine (Zone 5) | Copenhagen experiences cool temperatures for a significant portion of the year, requiring heating. | Moderate thermal mass helps regulate temperature without excessive heat retention or dissipation./ low | External shading effectively blocks direct sunlight, reducing heat gain while maintaining visibility. (Exterior Shading with Vertical Louvers)./ operable sunshades | Materials like expanded polystyrene (EPS) or polyisocyanurate (PIR) offer excellent insulation. | VRF systems provide efficient heating and cooling with individual control over zones. | Optimizing building orientation and incorporating natural ventilation reduces reliance on active systems. | Copenhagen generally experiences higher humidity levels, so dehumidification enhances comfort. | Vertical windows capture more low-angle sunlight, while minimizing high-angle sunlight for better control. | Low-E coating minimizes heat transfer, while double glazing enhances insulation and reduces energy loss./ but south | Light colors reflect sunlight, reducing heat absorption and minimizing the urban heat island effect. | The European Beech is well-suited to Copenhagen's climate, providing shade without excessive water needs. temperate climate with temperatures ranging from 41 to 90 ℉ (5 to 32 ℃). | Copenhagen's latitude allows for sufficient sunlight, making photovoltaic panels a profitable investment.
21. New York | humid subtropical (Cfa) hot, humid summers and cold, wet winters. | New York experiences hot summers and relatively milder winters, making cooling more essential for comfort. | Materials like concrete with moderate thermal mass help absorb and release heat effectively in varying temperature cycles. (moderate)./ light weight | External shading, such as overhangs or louvers, helps block direct sunlight, reducing heat gain and glare./ operable sunshades | Ensures better thermal resistance, minimizing heat transfer through walls and roofs.(High-performance Insulation (e.g., Polyurethane Foam)). | Provides efficient heating and cooling with zoned control, optimizing energy usage.(VRF) | Utilizing cross-ventilation and thermal mass helps regulate indoor temperatures without relying on mechanical systems. | New York tends to be humid, so dehumidification is more relevant for enhancing comfort and indoor air quality. | Vertical windows capture more sunlight throughout the day, maximizing daylight without excessive heat gain. | Reduces heat transfer while allowing ample natural light, contributing to energy efficiency.(low E)./ but south | Reflects sunlight, minimizing heat absorption and maintaining a cooler indoor environment. | Drought-tolerant and adaptable to urban environments, providing shade without excessive water requirements. | New York has a high energy demand, and solar panels can be financially viable with available incentives and subsidies.
23. Hustoun | humid subtropical (Cfa) | Houston primarily requires cooling due to its hot and humid climate throughout the year. Wik: (Air conditioning is ubiquitous in Houston; in 1981, annual spending on electricity for interior cooling exceeded $600 million (equivalent to $1.93 billion in 2022) | A moderate thermal mass helps in stabilizing indoor temperatures in response to fluctuating external conditions. Concrete is a suitable material./ light weight construction | Overhangs block direct sunlight, reducing solar heat gain, and providing effective shading against radiation ( External Horizontal Shading )./ operable sunshades | Spray foam insulation provides high R-values, excellent air sealing, and can be effective in both walls and roofs. | VRF systems offer energy efficiency, individual zone control, and adaptability to varying loads. / High Efficiency air conditioner or heat pump | Natural ventilation promotes air circulation, and thermal mass helps absorb and release heat for passive temperature control. | Houston's high humidity levels often require dehumidification for indoor comfort and mold prevention. | Vertical windows allow for better control of natural light and heat, reducing glare and heat gain. | Low-E-coated glass reduces heat transfer and UV radiation while allowing natural light into the building./ but south | Light colors reflect sunlight, reducing heat absorption and contributing to a cooler building envelope. | Live Oak is well-adapted to Houston's climate, providing shade and enhancing the aesthetic of the landscape./ In its native growth environment, live oak grows in areas with an average temperature range of 15 to 38 ℃ (59 to 100.4 ℉). It prefers full sun exposure and can tolerate a wide range of temperatures. During the summer months, it is suggested to provide ample water to help the tree adjust to high temperatures. (https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjb8YH6h8yIAxVeg_0HHWFVC3gQFnoECBQQAw&url=https%3A%2F%2Fwww.picturethisai.com%2Fcare%2Ftemperature%2FQuercus_virginiana.html%23%3A~%3Atext%3DIn%2520its%2520native%2520growth%2520environment%2Ctree%2520adjust%2520to%2520high%2520temperatures.&usg=AOvVaw2xkr2nNfAZHJ8Q_Xxn__h_&opi=89978449) | Houston's abundant sunlight makes photovoltaic panels a profitable investment for generating renewable energy. https://www.houston.org/news/houston-described-solar-leader-it-continues-increasing-capacityA new environmental report ranks Houston No. 16 in the nation for total installed solar photovoltaic (PV) capacity
24. San Fransisco | dry summer subtropical climates (Csb) mild, wet winters and cool, dry summers. | San Francisco generally experiences mild temperatures, and cooling is more commonly required than heating. | Materials like concrete with moderate thermal mass help regulate indoor temperature without excessive heat buildup./ low | To minimize direct sunlight and reduce solar heat gain, external horizontal shading is recommended ./ operable window shutters | High-quality insulation provides effective thermal resistance, reducing the need for excessive heating or cooling. (e.g., Polyurethane Foam) ./ Extra insulation (super insulation) | VRF systems offer efficient heating and cooling, along with zoning capabilities for energy savings. | Utilizing natural ventilation and thermal mass helps maintain a comfortable indoor environment with minimal energy use./ (seasonal sunrooms, enclosed patios, courtyards, or verandahs), skylight | San Francisco has relatively moderate humidity levels, and dehumidification is often required for comfort. | Vertical windows allow for better daylighting and solar control, enhancing energy efficiency./Windows can be unshaded and face in any direction | Low-E coated glass minimizes heat transfer and maximizes energy efficiency in both heating and cooling seasons. | Light-colored facades reflect sunlight, reducing heat absorption and enhancing energy efficiency. | Coast Live Oak is well-adapted to the local climate, providing shade without excessive water requirements./ / It is a temperate woody plant known for its resiliency towards temperature extremes. The plant prefers temperatures ranging from 59 to 100 ℉ (15 to 38 ℃), adjusting to cooler temperatures in the winter and warmer temperatures in the summer. (https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwit8aHdh8yIAxUB9LsIHTvzIE0QFnoECBQQAw&url=https%3A%2F%2Fwww.picturethisai.com%2Fcare%2Ftemperature%2FQuercus_agrifolia.html%23%3A~%3Atext%3DIt%2520is%2520a%2520temperate%2520woody%2Cwarmer%2520temperatures%2520in%2520the%2520summer.&usg=AOvVaw06nETakXtRFqKBFR8SKOzH&opi=89978449)
25. Seattle | warm-summer Mediterranean climate (Csb) | Seattle has a predominantly mild climate, making cooling more necessary. | Helps stabilize temperature and manage humidity effectively. (Moderate - Concrete)./ low | Blocks direct sunlight, minimizing heat gain, and providing shade. (Horizontal Overhangs)./ operative window shutters | Provides excellent thermal resistance, reducing heat transfer. (High R-value Insulation (e.g., Polyurethane)) | Offers efficient heating and cooling with zoned control. (VRF)./fan-powered HRV or ERV (Heat or Energy Recovery Ventilator) | Utilizes natural air movement and thermal mass for temperature control. / (seasonal sunrooms, enclosed patios, courtyards, or verandahs), skylight | Seattle tends to have higher humidity levels; dehumidification may be needed. | Reduces solar heat gain and provides better daylight control. | Enhances insulation and reduces UV transmission for better energy efficiency. | Light colors reflect sunlight, minimizing heat absorption. | Native to the region, provides shade without obstructing too much sunlight. (Douglas Fir)/ Common douglas-fir grows best in cool environments with temperatures ranging from 41 to 90 ℉ (5 to 32 ℃). It prefers full sun to partial shade, and enjoys well-draining soils. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwijhduSiMyIAxXKh_0HHQR0NcQQFnoECBUQAw&url=https%3A%2F%2Fwww.picturethisai.com%2Fcare%2Ftemperature%2FPseudotsuga_menziesii.html%23%3A~%3Atext%3DCommon%2520douglas%252Dfir%2520grows%2520best%2Cand%2520enjoys%2520well%252Ddraining%2520soils.&usg=AOvVaw2LhRrY78v_CB5jvJWQg2K1&opi=89978449 | Seattle receives a sufficient amount of sunlight for PV panel efficiency.
26. Minneapolis | (Dfa) humid continental climate with hot summers. This means Minneapolis experiences hot, humid summers and cold, snowy winters. Hot-Humid (Zone 2) | Minneapolis experiences cold winters and hot summers, requiring both heating in winter and cooling in summer./ answer with my analysis based on climate and other answers | Minneapolis has a wide temperature range; moderate thermal mass helps regulate temperature effectively.------ man fk mikonam high behtare/ bar asas climate baghiye | Considering the variation in radiation and temperature, adjustable shading allows control for optimal comfort and energy efficiency. | Insulation with high R-values like spray foam or rigid foam boards is effective in both walls and roofs for energy efficiency. | VRF systems provide efficient heating and cooling with zonal control, suitable for Minneapolis' varying climate. / | Utilizing natural ventilation and incorporating thermal mass in the design helps passively regulate indoor temperatures. | Minneapolis experiences high humidity levels in summer; dehumidification ensures comfort and prevents mold growth. | Vertical windows are more effective in controlling sunlight and optimizing daylight without excessive heat gain. | Low-E glass reduces heat transfer, enhancing insulation while allowing daylight into the building. | Light-colored facades reflect sunlight, reducing heat absorption and keeping the building cooler. | Honeylocust is a hardy tree suitable for Minneapolis, providing shade without extensive water requirements./ 65°F 18.33 °Celsius to 85°F is ideal for Honey Locust tree health and growth. 🍂 Watch for wilting or soggy leaves to spot temperature stress. 💧 Humidity and watering aid in managing temperature extremes. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwisvMTPpMyIAxUW2wIHHcJYJWgQFnoECBUQAw&url=https%3A%2F%2Fgreg.app%2Fhoney-locust-temperature%2F%23%3A~%3Atext%3D65%25C2%25B0F%2520to%252085%2Caid%2520in%2520managing%2520temperature%2520extremes.&usg=AOvVaw2-eDFZYMbkQgQ16RMzxapI&opi=89978449
27. Florida | much of the state is humid subtropical (Cfa) | Florida has a subtropical climate, with hot and humid conditions for most of the year. | Concrete is a suitable material for moderate thermal mass, helping regulate temperature efficiently. Low | Protects against direct sunlight, reducing heat gain while allowing for adjustment based on the sun's position. | Reflects radiant heat, keeping the building cooler in hot weather and warmer in cooler weather. (Reflective foil insulation) | Offers energy-efficient heating and cooling, adapting to changing load requirements in different zones of the building. (VRF). / High Efficiency air conditioner or heat pump | Utilizes prevailing breezes and temperature differentials for passive cooling, reducing the reliance on mechanical systems. | Florida's high humidity levels often necessitate dehumidification for indoor comfort and mold prevention. | Vertical windows provide better daylighting and can minimize solar heat gain, promoting energy efficiency. | Reduces heat transfer while allowing natural light, enhancing energy efficiency by balancing insulation and solar gain. | Light colors reflect sunlight, reducing heat absorption and keeping the building cooler, especially in hot climates. | Live oaks are well-adapted to Florida's climate, providing shade and enhancing the aesthetic value of the landscape.
28. Buffalo | humid continental climate (Dfa) | Buffalo experiences cold winters requiring heating and warm summers necessitating cooling. | Moderate thermal mass helps in stabilizing indoor temperatures in a climate with varying temperatures and humidity./ Tiles or slate (even on wood floors) or a stone-faced fireplace provides enough surface mass | External shading protects against solar radiation and heat gain, allowing for effective temperature control./ operable sunshades | Provides a high level of insulation, minimizing heat transfer and ensuring energy efficiency. (Closed-cell spray foam insulation) | Offers efficient heating and cooling control with zoning capabilities, enhancing energy savings and comfort. (VRF) | Utilizing natural airflow and thermal mass helps regulate indoor temperatures passively without excessive energy use. | Buffalo experiences humid summers, and dehumidification ensures comfort by reducing excessive moisture in the air. | Allows for better control of natural light and solar heat gain, promoting energy efficiency and comfort. (vertical) | Reflects infrared light while allowing visible light, reducing heat transfer, and maintaining optimal indoor temperatures. | Light colors reflect sunlight, reducing heat absorption, and helping to keep the building cooler. | Drought-tolerant and adaptable to Buffalo's climate, providing shade without excessive water requirements. | Photovoltaic panels can be profitable with government incentives and proper installation, contributing to energy savings.
29. New Orleans | Humid Subtropical (Cfa) temprate/ no dry season/ hot summers. | New Orleans has a subtropical climate with hot and humid summers, making cooling the primary concern. Winters are generally mild, requiring minimal heating. | Moderate thermal mass helps absorb and release heat gradually, providing a balance for temperature fluctuations./ lightweight construction | External shading helps block direct sunlight and reduce heat gain while maintaining natural light and ventilation. (Exterior Shading (e.g., overhangs, louvers)) | Spray foam insulation provides excellent thermal resistance and air sealing, ensuring energy efficiency for both walls and roofs. | VRF systems offer energy-efficient heating and cooling, with individual control over zones, optimizing comfort and energy usage./ High Efficiency air conditioner or heat pump | Utilizing natural ventilation, thermal mass, and high ceilings promotes passive cooling, enhancing comfort without relying solely on mechanical systems. | New Orleans tends to have high humidity, making dehumidification more relevant for comfort and preventing mold and moisture issues. | A vertical window orientation helps control solar heat gain and enhances daylighting while minimizing glare and heat gain. | Low-E coated glass helps control heat transfer, reducing both heat gain in summer and heat loss in winter, maintaining optimal indoor temperatures. | Light-colored facades reflect sunlight, reducing heat absorption and enhancing overall energy efficiency by keeping the building cooler. | Live Oaks are native, well-adapted trees that provide ample shade and can withstand the local climate conditions in New Orleans.
30. Calgary | subarctic climate (Dfc) humid continental climate, characterized by cold winters and warm summers. | Calgary experiences cold winters, making heating a more significant requirement than cooling. | High thermal mass is recommended for temperature regulation due to the extreme variations; materials like concrete or stone are suitable./ light weight construction | External shading, such as overhangs or shading devices, helps control solar gain and prevents overheating. | Insulation with a high R-value, like foam board or fiberglass, is effective in minimizing heat transfer through walls and roofs. | VRF systems offer efficient heating and cooling, allowing for precise temperature control in different building zones. | Utilizing earth as a thermal mass and designing for natural airflow can provide effective passive cooling and heating. | Calgary has dry winters; dehumidification may be needed for comfort, especially during heating seasons. | Vertical windows allow for more controlled light and heat entry, suitable for both winter and summer conditions. | Low-E coated glass helps control heat transfer, reducing energy consumption for both heating and cooling. | Light colors reflect sunlight, minimizing heat absorption and reducing the cooling load on the building. | Trembling Aspen is well-adapted to Calgary's climate, providing shade in summer and allowing sunlight in winter when leaves fall./ Quaking aspen requires a native growth environment with cool to mild temperatures. It has a preferred temperature range of 32 to 95 ℉ (0 to 35 ℃). In the summer, it can adjust to temperatures up to 100 ℉ (38 ℃), while in the winter, it can tolerate temperatures as low as -40℉ (-40℃). https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjZ0fq_iMyIAxXd7rsIHXcyLCIQFnoECBQQAw&url=https%3A%2F%2Fwww.picturethisai.com%2Fcare%2Ftemperature%2FPopulus_tremuloides.html%23%3A~%3Atext%3DQuaking%2520aspen%2520requires%2520a%2520native%2C40%25E2%2584%2589%2520(%252D40%25E2%2584%2583).&usg=AOvVaw18TEq-XfeDZ9RgZfgUFwoZ&opi=89978449 | Photovoltaic panels are profitable in Calgary, given the ample sunlight; they contribute to energy savings and environmental sustainability.
31. Buenos Aires | humid subtropical climate zone (Cfa) temperate/ no dry season/ hot summers. | Buenos Aires experiences a predominantly warm climate, with the need for cooling being more significant than heating. | Moderate thermal mass, such as concrete, helps stabilize temperature fluctuations in a climate with moderate variations./ light weight, low mass | External shading systems, like adjustable louvers, can effectively block direct sunlight and reduce heat gain. | Polyisocyanurate (PIR) insulation offers high thermal resistance and is suitable for both walls and roofs, providing effective insulation. | VRF systems offer energy efficiency and precise temperature control, making them suitable for varying climate demands. | Green roofs provide insulation, while natural ventilation enhances airflow, reducing the need for mechanical cooling. | Buenos Aires tends to have higher humidity levels; therefore, dehumidification is more crucial for comfort. | Vertical windows provide better shading and daylight control, contributing to energy efficiency. | Low-E coated glass helps control heat transfer, reducing energy consumption for both cooling and heating. | Light-colored facades reflect sunlight, reducing heat absorption and enhancing energy efficiency. | Tipuana Tipu is a drought-resistant tree suitable for Buenos Aires, providing shade without excessive water requirements./Tipu tree is adaptable to climates with temperatures ranging from 68 to 100 °F (20 to 38 ℃), which reflects its native growth environment. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjs-dXPiMyIAxVog_0HHcERBQkQFnoECBoQAw&url=https%3A%2F%2Fwww.picturethisai.com%2Fcare%2Ftemperature%2FTipuana_tipu.html%23%3A~%3Atext%3DTipu%2520tree%2520is%2520adaptable%2520to%2Creflects%2520its%2520native%2520growth%2520environment.&usg=AOvVaw3Cyj32oh7fGTtEbEG_NfrZ&opi=89978449 | With abundant sunlight, photovoltaic panels are profitable in Buenos Aires, contributing to sustainable energy solutions.
32. Brasilia | tropical savanna climate (Aw) tropical/ dry winter. hot, humid climate with distinct wet and dry seasons. | Brasília has a predominantly hot and dry climate, with high temperatures throughout the year. | Materials like concrete with moderate thermal mass help regulate temperature without excessive heat retention./ light weight | Brasília's high solar radiation benefits from external shading to minimize direct sunlight exposure. | Reflective foil insulation is effective in minimizing heat absorption in walls and roofs./ like EIFS foam | VRF systems provide efficient cooling and heating, adapting to the building's varying needs. | Harnessing the earth's thermal mass and utilizing natural ventilation help passively regulate indoor temperatures. (Earth Sheltering and Natural Ventilation) | Brasília has low humidity levels, and dehumidification may be required for comfort, especially during the dry season. | Vertical windows provide effective natural ventilation and daylighting while minimizing direct solar heat gain. | Low-E coated glass reduces heat transfer and blocks harmful UV rays while maintaining natural light. | Light colors reflect sunlight, reducing heat absorption and contributing to a cooler interior. | Jacaranda trees provide shade without excessive water consumption, adapting well to the local climate.warm, tropical, or subtropical climates | The high solar exposure in Brasília makes photovoltaic panels a profitable investment for sustainable energy.
32. Kandy | tropical rainforest climate (Af) | Kandy has a tropical climate with warm temperatures, and cooling is the major requirement for comfort. | Materials like brick or concrete with moderate thermal mass help absorb and release heat in response to temperature changes. (khodam migam light) | Overhangs and louvers are effective in blocking direct sunlight while allowing natural light and ventilation. | Reflective foil insulation helps minimize heat absorption in walls and roofs, keeping the interior cooler. | Split AC systems are commonly used and provide efficient cooling, adapting well to the climate of Kandy. | Utilizing natural breezes through cross-ventilation and incorporating roof overhangs aid passive cooling. | Kandy experiences high humidity levels, and dehumidification may be required for indoor comfort. | Horizontal windows promote better natural ventilation and daylighting while minimizing direct solar heat gain. | Low-E coated glass helps control heat transfer, blocks UV rays, and maintains natural light, enhancing energy efficiency. | Light-colored facades reflect sunlight, reducing heat absorption, and contribute to a cooler interior. | Jackfruit trees provide ample shade and are well-suited to the tropical climate of Kandy./ Climate: The Jacaranda tree prefers warm, tropical, or subtropical climates. It is not frost tolerant and may suffer damage or even die if exposed to freezing temperatures. It is a good choice for landscapes in warm climates, USDA hardiness zones 10 and 11. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwiVpf28icyIAxXVxgIHHUUIOGYQFnoECBkQAw&url=https%3A%2F%2Fwww.gardenia.net%2Fplant%2Fjacaranda-mimosifolia%23%3A~%3Atext%3DClimate%253A%2520The%2520Jacaranda%2520tree%2520prefers%2Chardiness%2520zones%252010%2520and%252011.&usg=AOvVaw18mkud-5pATtvqlEtGkiSv&opi=89978449 | With abundant sunlight, photovoltaic panels are a profitable investment for sustainable energy in Kandy.
33. Mumbai | tropical savanna climate (Aw) dry winters | Mumbai has a tropical climate with high temperatures and humidity, making cooling a primary requirement. | Materials like concrete with moderate thermal mass help absorb and release heat, balancing temperature fluctuations. | External shading, such as overhangs or louvers, helps block intense sunlight and reduce heat gain in buildings. | Reflective foil insulation helps reflect solar radiation, keeping the interiors cooler and reducing the need for extensive cooling. | VRF systems offer efficient cooling and can adapt to variable loads, suitable for Mumbai's varying climate. | Utilizing natural airflow through well-designed openings and incorporating courtyards enhances passive cooling. | Mumbai's high humidity levels may require dehumidification for indoor comfort, especially during the monsoon season. | Horizontal windows provide better shading and reduce direct sunlight penetration, contributing to energy efficiency. | Low-E coated glass minimizes heat transfer, blocks UV rays, and maintains natural light, enhancing energy efficiency. | Light-colored facades reflect sunlight, reducing heat absorption and helping maintain a cooler indoor environment. | The Rain Tree provides ample shade and adapts well to Mumbai's climate, offering a cooling effect in outdoor spaces./Rain Trees thrive in tropical climates with well-drained soil and ample rainfall, contributing to the greenery of rainforests and tropical landscapes. Habitat and Distribution: Adaptable to various soil types, Rain Trees are often found in tropical rainforests, coastal areas, and urban environments. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwiSrPfLicyIAxVWwQIHHV8kOSUQFnoECBwQAw&url=https%3A%2F%2Fgrowbilliontrees.com%2Fblogs%2Ftree-stories%2Frain-tree-finding-inspiration-in-natures-canopy%23%3A~%3Atext%3DRain%2520Trees%2520thrive%2520in%2520tropical%2Ccoastal%2520areas%252C%2520and%2520urban%2520environments.&usg=AOvVaw24Dj1el6W10fvAoEEOeYdW&opi=89978449 | Mumbai experiences abundant sunlight, making photovoltaic panels a profitable investment for sustainable energy generation.
34. Kathmandu | (Cwb)subtropical highland climate with dry winters. warm summers with moderate precipitation and cool, dry winters. | Kathmandu experiences a wide temperature range with hot summers, making cooling more essential than heating./ it doesn’t need any Achttps://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjho8qX8MyIAxUYhv0HHTByB9QQFnoECCEQAQ&url=https%3A%2F%2Fwww.tripadvisor.com%2FShowTopic-g293890-i9244-k10379829-Is_Air_Condition_needed_in_Kathmandu_in_June-Kathmandu_Kathmandu_Valley_Bagmati_Zone_Centr.html&usg=AOvVaw3n-f9G6PH8t9I9NdAWX4xz&opi=89978449 | Materials like adobe or rammed earth with moderate thermal mass help in temperature regulation in varying seasons./ light weight construction | Overhangs and louvers help in blocking direct sunlight during the hot season while allowing sunlight in colder months. | Fiberglass insulation provides effective thermal resistance, reducing heat transfer through walls and roofs. | A split AC system is efficient for cooling, allowing flexibility in controlling individual room temperatures. | Cross-ventilation utilizes natural air movement, and earth-sheltered design aids in passive cooling and heating. | Kathmandu can have low humidity levels, and humidification may be necessary for comfort, especially during winter. | Vertical windows provide efficient natural ventilation while minimizing direct solar heat gain. | Double-glazed low-E glass enhances insulation, reducing heat transfer and providing better temperature control. | Light-colored facades reflect sunlight, reducing heat absorption and contributing to a cooler interior. | Himalayan Pine is suitable for the local climate, providing shade without requiring excessive water./Himalayan pine thrives best in cool climates, resembling its native Himalayan environment. It needs well-draining soil and regular watering, ensuring the soil remains moist but not waterlogged. As a special care point, himalayan pine requires full sun exposure for optimal growth. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjj1oHbicyIAxVq7gIHHXFAASAQFnoECBUQAw&url=https%3A%2F%2Fwww.picturethisai.com%2Fcare%2FPinus_wallichiana.html%23%3A~%3Atext%3DHimalayan%2520pine%2520thrives%2520best%2520in%2Csun%2520exposure%2520for%2520optimal%2520growth.&usg=AOvVaw3W2pui0C2g-v87iRtyr7H5&opi=89978449 | Kathmandu receives ample sunlight, making photovoltaic panels a viable and profitable source of sustainable energy.
35. Kabul | cold semi-arid climate (BSk) with cold winters and dry hot summers. Dry/ semi-arid/ cold | Kabul experiences cold winters, making heating the major requirement for indoor comfort. | High thermal mass materials like adobe or stone can absorb heat during the day and release it during cold nights./ moderate | External shading helps block intense sunlight and reduce heat gain, especially during the hot summer months. | Fiberglass insulation is effective in retaining heat during winters and preventing heat penetration in summers. | Radiant heating systems are efficient in providing localized warmth, suitable for cold climates like Kabul. | Trombe walls store heat during the day and release it at night, contributing to passive solar heating in colder seasons. | Kabul has low humidity levels, and humidification may be necessary to enhance indoor comfort, especially in winters. | A balanced window ratio allows for sufficient daylighting without excessive heat gain or loss in different seasons. | Double-glazed low-E glass provides insulation, reducing heat transfer while allowing natural light to enter. | Dark colors absorb and retain heat, beneficial in Kabul's cold climate by aiding passive solar heating during the day. / light colored | Afghan Pine is well-suited for Kabul's climate, providing shade without excessive water requirements./ Afghan Pines bask in the sun's embrace, thriving in daytime temperatures that hover between 65-85°F (18-29°C). They're sun worshippers, .https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwi3scGQrcyIAxXMhv0HHREHK7AQFnoECBgQAQ&url=https%3A%2F%2Fgreg.app%2Fafghan-pine-temperature%2F&usg=AOvVaw3ldEmEZl3jghcgEI2XYHfv&opi=89978449 | Kabul receives abundant sunlight, making photovoltaic panels a viable and profitable option for sustainable energy.
36. Hong kong | subtropical and monsoonal (Cwa), with cool dry winters and hot and wet summers. | Hong Kong has a subtropical climate with hot and humid conditions, making cooling a primary requirement. | Materials like concrete with moderate thermal mass help absorb and release heat gradually in Hong Kong's climate. | External shading, such as overhangs or louvers, helps block direct sunlight and reduce heat gain in buildings. | Polyurethane foam insulation provides high thermal resistance, ideal for both walls and roofs in warm climates. | VRF systems offer precise control, energy efficiency, and adaptability to the variable cooling demands in Hong Kong./ air conditioner or heat pump | Utilizing natural breezes and green roofs helps passively cool buildings, enhancing thermal comfort in Hong Kong. | Hong Kong's high humidity levels may require dehumidification for comfort, especially during the hot and wet season. | Vertical windows facilitate effective cross-ventilation and daylighting while minimizing solar heat gain. | Low-E coated glass helps control heat transfer and blocks UV rays, enhancing energy efficiency in Hong Kong's climate. | Light-colored facades reflect sunlight, reducing heat absorption, and contributing to a cooler interior. | Chinese Banyan trees offer shade, are resilient to urban conditions, and thrive in Hong Kong's subtropical climate. | With ample sunlight, photovoltaic panels can be profitable, contributing to sustainable energy in Hong Kong.
37. Yinchunan | cold desert climate (BWk) has distinct seasons, with dry, cold winters, late springs, and short summers. Dry/ arid/ hot | Yinchuan experiences hot summers and cold winters, making cooling more necessary than heating overall. | Materials like concrete with moderate thermal mass help balance temperature extremes in both seasons./ high mass | Horizontal shading helps block high-angle summer sun while allowing lower-angle winter sun for passive heating. | Fiberglass batt insulation provides effective thermal resistance for both walls and roofs in varying climates. | Ground source heat pumps efficiently provide both heating and cooling, utilizing stable ground temperatures. | Utilizing natural breezes and evaporative cooling methods help passively cool the building during hot periods. | Yinchuan experiences low humidity, especially in winter, so humidification may be necessary for comfort. | Horizontal windows provide better shading from the intense summer sun while allowing sunlight during winter months./Maximize vertical height between air inlet and outlet | Low-E coated glass helps regulate indoor temperatures by reducing heat transfer and blocking UV rays. | Light-colored facades reflect sunlight, minimizing heat absorption, and contributing to a cooler interior. | Chinese Pistache trees provide shade without excessive water consumption, adapting well to Yinchuan's climate./Climate Suitability: Ficus microcarpa thrives in warm, humid climates, typically USDA hardiness zones 9-11. In cooler regions, it may need protection from frost and could be grown in a pot to bring indoors during colder months. https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjjhoHpicyIAxWAzgIHHXSXNA8QFnoECBQQAw&url=https%3A%2F%2Fwww.gardenia.net%2Fplant%2Fficus-microcarpa-chinese-banyan%23%3A~%3Atext%3DChinese%2520Banyan%2520Care%2520Outdoors%26text%3DClimate%2520Suitability%253A%2520Ficus%2520microcarpa%2520thrives%2Cbring%2520indoors%2520during%2520colder%2520months.&usg=AOvVaw34sDY3lXMHinIRc3Z-1sKk&opi=89978449 | Yinchuan receives abundant sunlight, making photovoltaic panels a profitable investment for sustainable energy.
38. Tokyo | Humid subtropical, no dry season climate (Cfa). temprate/ no dry season/ hot summers. | Tokyo experiences hot and humid summers, making cooling a major requirement for indoor comfort. | Materials like concrete with moderate thermal mass help regulate temperature in Tokyo's varying climate./ light | External shading helps block direct sunlight, reducing heat gain and improving thermal comfort in hot weather. | Polyurethane foam insulation provides effective thermal resistance for walls and roofs, reducing both heating and cooling loads. | VRF systems offer efficient cooling and heating, adapting well to Tokyo's temperature variations throughout the year. | Utilizing natural ventilation and incorporating green roofs helps passively cool and regulate indoor temperatures in Tokyo. | Dehumidification may be required, especially during the humid summer months, to enhance comfort in Tokyo's climate. | Horizontal windows offer a good balance between daylighting and solar heat gain, considering Tokyo's climate./ tall operable windows | Low-E coated glass helps control heat transfer, blocks UV rays, and enhances energy efficiency in Tokyo's diverse climate. | Light-colored facades reflect sunlight, reducing heat absorption, and contributing to a cooler indoor environment. | Japanese Maple trees provide shade, aesthetic appeal, and adapt well to Tokyo's climate, enhancing the surrounding environment.Japanese maple grows best in a temperate climate with a preferred temperature range of 32 to 95 ℉ (0 to 35 ℃). It is native to Japan where the temperature ranges from 23 to 81 ℉ (-5 to 27 ℃).https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwiE-JL3icyIAxXb-AIHHSBEIAAQFnoECBUQAw&url=https%3A%2F%2Fwww.picturethisai.com%2Fcare%2Ftemperature%2FAcer_palmatum.html%23%3A~%3Atext%3DJapanese%2520maple%2520grows%2520best%2520in%2C(%252D5%2520to%252027%2520%25E2%2584%2583).&usg=AOvVaw2YUSP9gjfAbht9rPjsM-pn&opi=89978449
39. Manila | tropical wet and dry climate and tropical monsoon (Aw). Dry winters | Manila has a tropical climate with high temperatures and humidity, making cooling a primary requirement. | Materials like concrete with moderate thermal mass help stabilize temperature in a tropical climate./ light weight | External shading elements like overhangs and louvers help block direct sunlight and reduce heat gain. | Reflective foil insulation is effective in minimizing heat absorption, important in a warm and humid environment. | VRF systems provide efficient cooling and are adaptable to the varying temperature needs in tropical climates./ air conditioner or heat pump | Utilizing cross-ventilation and extended roof overhangs facilitate passive cooling by promoting airflow and shade. | Due to high humidity levels, dehumidification may be necessary for comfort and to prevent moisture-related issues. | Horizontal windows allow for better shading and reduced direct sunlight penetration, improving overall comfort./ tall operative windows | Low-E coated glass helps control heat transfer and blocks UV rays while maintaining natural light in a tropical setting. | Light-colored facades reflect sunlight, reducing heat absorption and contributing to a cooler interior environment. | Mango trees provide ample shade and thrive in tropical climates, contributing to the overall comfort of the surroundings.Climate: Miyazaki mangoes thrive in tropical and subtropical climates with warm temperatures. They cannot withstand frost, even briefly, as it can damage or kill the plant. The ideal temperature range for growth and fruiting is between 80°F and 100°F (27°C and 38°C).https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwjexKaOisyIAxUY7wIHHZ9pCHEQFnoECBUQAw&url=https%3A%2F%2Fwww.amazon.in%2FPyanabi-Costliest-Japanese-Miyazaki-Original%2Fdp%2FB0CF9GKZ7D%23%3A~%3Atext%3DClimate%253A%2520Miyazaki%2520mangoes%2520thrive%2520in%2CC%2520and%252038%25C2%25B0C).&usg=AOvVaw3ItDozOJFV5kl2DK9iAdzi&opi=89978449 | With abundant sunlight, photovoltaic panels are a viable and profitable option for sustainable energy generation in Manila.
40. Massakar | tropical monsoon climate (Am) | Massakar experiences high temperatures, making cooling a more significant requirement than heating. | Materials like adobe or rammed earth with high thermal mass help absorb and release heat, stabilizing indoor temperatures./ light weight | External shading helps block direct sunlight, reducing heat gain and improving comfort in the warm climate of Massakar. | Spray foam insulation provides excellent thermal resistance, minimizing heat transfer through walls and roofs. | Inverter technology adapts to varying cooling needs efficiently, making it suitable for Massakar's climate. Split System Air Conditioner with Inverter Technology./ air conditioner or heat pump | Utilizing natural ventilation and earth sheltering techniques can passively cool and heat the building in an energy-efficient manner. | Massakar's climate may experience high humidity levels, requiring dehumidification for comfort, especially during the humid season. | Horizontal windows provide effective natural ventilation and daylighting while minimizing direct solar heat gain./ tall operative windows | Low-E coated glass helps in reducing heat transfer and UV rays while allowing natural light, contributing to energy efficiency. | Light-colored facades reflect sunlight, reducing heat absorption, and contributing to a cooler indoor environment. | Date palms are well-suited to Massakar's climate, providing shade without excessive water consumption./ arid and semi-arid regions
BWh, BSk, CSa and BSh are important climatic groups of Iran
goruh eghlimi/ baresh, rotubat/ dama
|  | تقسیم‌بندی اقلیمی کوپن | اقلیم بندی اشری |  | five main climate groups, with each group being divided based on patterns of seasonal precipitation and temperature.
|  | گروه A : اقلیم‌های استوایی/گرمسیری: |  |  | The five main groups are A (tropical), B (arid), C (temperate), D (continental), and E (polar)
|  | اقلیم جنگل‌های بارانی (Af) | 1A |  | All climates except for those in the E group are assigned a seasonal precipitation subgroup (the second letter). For example, Af indicates a tropical rainforest climate.
|  | اقلیم موسمی (Am) | 1B |  | The system assigns a temperature subgroup for all groups other than those in the A group, indicated by the third letter for climates in B, C, D, and the second letter for climates in E
|  | اقلیم ساوان (Aw) | 1B
|  | گروه B : اقلیم‌های خشک (بایر و نیمه بایر) |  |  | climate group | seasonal precipitation | temperature
|  | اقلیم بیابانی(BW) | 2B |  | 1st | 2nd | 3rd
|  | اقلیم نیمه‌خشک(BS) | 2B |  | A (Tropical) | f (Rainforest)
|  | گروه C: اقلیم معتدل |  |  |  | m (Monsoon)
|  | اقلیم مدیترانه ای (Csa/ Csb) | 3C |  |  | w (Savanna, dry winter)
|  | اقلیم نیمه گرمسیری مرطوب(Cfa/Cwa) | 3A/3B |  |  | s (Savanna, dry summer)
|  | اقلیم اقیانوسی (Cfb/Cfc) | 4A |  | B (Dry) | W (Arid Desert) | h (Hot)
|  | اقلیم معتدل کوهستانی مناطق استوایی با زمستان | 4B |  |  | S (Semi-Arid or steppe) | k (Cold)
|  | خشک (Cwc/Cwb) |  |  | C (Temperate) | w (Dry winter) | a (Hot summer)
|  | اقلیم اقیانوسی نیمه قطبی(Cfe) | 5A |  |  | f (No dry season) | b (Warm summer)
|  | اقلیم نیمه آلپی(Csc) | 5C |  |  | s (Dry summer) | c (Cold summer)
|  | گروه D : اقلیم‌های قاره‌ای |  |  | D (Continental) | w (Dry winter) | a (Hot summer)
|  | اقلیم‌های قاره‌ای با تابستان داغ | 6A/6B/6C |  |  | f (No dry season) | b (Warm summer)
|  | (Dfa/ Dwa/Dsa) |  |  |  | s (Dry summer) | c (Cold summer)
|  | اقلیم‌های قاره‌ای با تابستان گرم (Dfb/Dwb/Dsb) | 6A/6B/6C |  |  |  | d (Very cold winter)
|  | اقلیم نیمه قطبی قاره‌ای یا اقلیم تایگا(Dfc/Dwc/Dsc) | 7A/7B/7C |  | E (Polar) |  | T (Tundra)
|  | اقلیم نیمه قاره‌ای با زمستانهای بسیار خشک | 7A/7B/7C |  |  |  | F (Ice cap) |  | Example Regions | Suitable HVAC Systems
|  | (Dfd/Dwd/Dsd) | [6 empty] | Southeast Asia, Amazon | VRF Systems, Split Systems with Dehumidification
|  | گروه E : اقلیم‌های قطبی و آلپی |  |  | he term monsoon is used to refer to the rainy phase of a seasonally changing pattern, although technically there is also a dry phase. The term is also sometimes used to describe locally heavy but short-term rains |  |  |  | Sahara, Southwest US | Evaporative Coolers, Packaged Rooftop Units (RTUs), ASHP
|  | اقلیم توندرا(ET) | 8 | [5 empty] | Mediterranean, Eastern US | Air Source Heat Pumps (ASHP), Ground Source Heat Pumps (GSHP), Ducted Split Systems
[9 empty] | Northern Europe, Canada | Gas Furnaces, Boilers, Ground Source Heat Pumps (GSHP), Dual-Fuel Systems
[9 empty] | Arctic, Antarctic | Hydronic Heating, Electric Resistance Heating, GSHP
[9 empty] | Andes, Himalayas | Packaged Systems, ASHP, Gas Furnaces

## Sheet2
City | Copen Climate | 2. Optimal Thermal Mass Level
1. Esfahan | cold semi-arid climate (Bsk) relatively mild winters with some precipitation, and hot, dry summers. (Zone 1) | A moderate thermal mass is recommended to help absorb and release heat, providing a balance between daytime warmth and nighttime cooling, suitable for Esfahan's climate.Adobe, Rammed Earth, Concrete/ high mass
2. Qeshm | (BWh) hot summers and mild winters, with minimal rainfall throughout the year. (Zone 1) | Moderate. Balances temperature variations without excessive heat retention or loss. / light . /correct answer is high
3. Yazd | hot desert climate (BWh) Hot-Dry (Zone 1) | Utilizes high thermal mass for effective heat storage during the day and release at night.Adobe, Rammed Earth, Concrete
4. Tehran | Most of Tehran has a cold semi-arid climate (BSk). cold semi-arid. relatively mild winters with some precipitation, and hot, dry summers. Hot-Dry (Zone 1) | moderate. Balances temperature variations without excessive heat absorption.Adobe, Rammed Earth, Concrete./ High mass
5. Tabriz (Dsa)/ (Bsk) | (Dsa), which signifies a cold semi-arid climate with hot summers. This means Tabriz experiences relatively cold winters with some precipitation, and hot, dry summers. Hot-Dry (Zone 1) | A high thermal mass is recommended to absorb and store heat during the day and release it at night, providing a more stable indoor temperature, especially during the cold winters in Tabriz.
6. Zahedan | (BWh)hot desert climate. This means Zahedan experiences extremely hot summers and mild winters, with very little precipitation throughout the year. Hot-Dry (Zone 1) | High thermal mass using materials like adobe, rammed earth, or concrete is recommended. These materials can absorb and store heat during the day and release it at night, providing a more stable indoor temperature.
7. Rasht | humid subtropical climate (Cfa) warm-summer Mediterranean climate. This means Rasht experiences mild, wet winters and warm, humid summers. Warm-Humid (Zone 3) | A moderate thermal mass is recommended to help absorb and release heat, providing a balance between daytime warmth and nighttime cooling, suitable for Rasht's humid subtropical climate./ light weight.
8. Bandar Abbas | hot desert climate (BWh) Hot-Dry (Zone 1) | High thermal mass materials, such as concrete, adobe, or rammed earth, are recommended. These materials can absorb and store heat during the day and release it at night, providing a more stable indoor temperature./ Light
9. Bandar Anzali | humid subtropical climate (Cfa) Warm-Humid (Zone 3) | Moderate. 5Lightweight concrete with high thermal mass properties is recommended for walls and floors. This material helps absorb and release heat gradually, providing balance for temperature fluctuations. / lightweight
10. Shiraz | cold semi-arid climate (BSk) Hot-Dry (Zone 1) | A moderate thermal mass is recommended to help absorb and release heat, providing a balance between daytime warmth and nighttime cooling. AAC is a lightweight material with good thermal properties../ High
11. London | temperate oceanic climate (Cfb) mild, wet winters and cool, relatively wet summers. Temperate-Marine (Zone 5) | A moderate thermal mass level, such as concrete, helps to stabilize indoor temperatures by absorbing and releasing heat as needed./ Low mass
12. Berlin | oceanic climate (Cfb) / (Dfb) Temperate-Marine (Zone 5) | High thermal mass, such as brick, helps absorb and store heat, contributing to more stable indoor temperatures in Berlin's varied climate./low
13. Barcelona | Mediterranean climate (Csa) warm-summer Mediterranean climate. This means Barcelona experiences hot, dry summers and mild, wet winters. Warm-Humid (Zone 3) | Moderate thermal mass, such as concrete, helps absorb and release heat slowly, providing thermal comfort in Barcelona's temperature variations./ light
14. Stockholm | warm-summer humid continental climate (Dfb)relatively mild summers with moderate precipitation and cold, snowy winters. Cold (Zone 6) | High thermal mass materials like concrete help retain and distribute heat, stabilizing indoor temperatures in Stockholm's cold climate.// low
15. Warsaw | oceanic (Dfb) mild summers with moderate precipitation and cold, snowy winters. Cold (Zone 6) | High thermal mass, such as brick, helps stabilize indoor temperatures by absorbing and releasing heat, essential in Warsaw's variable climate./ low
16. Kyiv | warm-summer humid continental climate (Dfb) Cold (Zone 6) | High thermal mass, such as concrete, helps retain heat in colder temperatures and provides a stable indoor environment in Kyiv's climate./ low
17. Athens | twarm-summer Mediterranean climate. hot, dry summers and mild, wet winters. (Csa) Warm-Humid (Zone 3) | Moderate thermal mass, such as stone, helps absorb and release heat gradually, contributing to temperature regulation in Athens' warm climate./ light
18. Rome | Mediterranean climate (Csa) Warm-Humid (Zone 3) | Moderate thermal mass, such as stone, helps absorb and release heat slowly, assisting in maintaining comfortable temperatures in a Mediterranean climate. / low
19. Budapest | oceanic or maritime temperate climate. (Cfb) cool, wet winters and mild, relatively wet summers. Temperate-Marine (Zone 5) interaction of two major climate systems: the continental climate and the oceanic climate. The influence of both these systems is felt across the country at different times, which means that the weather is very changeable. | Moderate thermal mass, such as brick, helps in retaining and releasing heat gradually, contributing to maintaining consistent indoor temperatures in a continental climate./ light
20. Copenhagen | oceanic climate zone (Cfb) Temperate-Marine (Zone 5) | Moderate thermal mass helps regulate temperature without excessive heat retention or dissipation./ low
21. New York | humid subtropical (Cfa) hot, humid summers and cold, wet winters. | Materials like concrete with moderate thermal mass help absorb and release heat effectively in varying temperature cycles. (moderate)./ light weight
23. Hustoun | humid subtropical (Cfa) | A moderate thermal mass helps in stabilizing indoor temperatures in response to fluctuating external conditions. Concrete is a suitable material./ light weight construction
24. San Fransisco | dry summer subtropical climates (Csb) mild, wet winters and cool, dry summers. | Materials like concrete with moderate thermal mass help regulate indoor temperature without excessive heat buildup./ low
25. Seattle | warm-summer Mediterranean climate (Csb) | Helps stabilize temperature and manage humidity effectively. (Moderate - Concrete)./ low
26. Minneapolis | (Dfa) humid continental climate with hot summers. This means Minneapolis experiences hot, humid summers and cold, snowy winters. Hot-Humid (Zone 2) | Minneapolis has a wide temperature range; moderate thermal mass helps regulate temperature effectively.------ man fk mikonam high behtare/ bar asas climate baghiye
27. Florida | much of the state is humid subtropical (Cfa) | Concrete is a suitable material for moderate thermal mass, helping regulate temperature efficiently. Low
28. Buffalo | humid continental climate (Dfa) | Moderate thermal mass helps in stabilizing indoor temperatures in a climate with varying temperatures and humidity./ Tiles or slate (even on wood floors) or a stone-faced fireplace provides enough surface mass
29. New Orleans | Humid Subtropical (Cfa) temprate/ no dry season/ hot summers. | Moderate thermal mass helps absorb and release heat gradually, providing a balance for temperature fluctuations./ lightweight construction
30. Calgary | subarctic climate (Dfc) humid continental climate, characterized by cold winters and warm summers. | High thermal mass is recommended for temperature regulation due to the extreme variations; materials like concrete or stone are suitable./ light weight construction
31. Buenos Aires | humid subtropical climate zone (Cfa) temperate/ no dry season/ hot summers. | Moderate thermal mass, such as concrete, helps stabilize temperature fluctuations in a climate with moderate variations./ light weight, low mass
32. Brasilia | tropical savanna climate (Aw) tropical/ dry winter. hot, humid climate with distinct wet and dry seasons. | Materials like concrete with moderate thermal mass help regulate temperature without excessive heat retention./ light weight
32. Kandy | tropical rainforest climate (Af) | Materials like brick or concrete with moderate thermal mass help absorb and release heat in response to temperature changes. (khodam migam light)
33. Mumbai | tropical savanna climate (Aw) dry winters | Materials like concrete with moderate thermal mass help absorb and release heat, balancing temperature fluctuations.
34. Kathmandu | (Cwb)subtropical highland climate with dry winters. warm summers with moderate precipitation and cool, dry winters. | Materials like adobe or rammed earth with moderate thermal mass help in temperature regulation in varying seasons./ light weight construction
35. Kabul | cold semi-arid climate (BSk) with cold winters and dry hot summers. Dry/ semi-arid/ cold | High thermal mass materials like adobe or stone can absorb heat during the day and release it during cold nights./ moderate
36. Hong kong | subtropical and monsoonal (Cwa), with cool dry winters and hot and wet summers. | Materials like concrete with moderate thermal mass help absorb and release heat gradually in Hong Kong's climate.
37. Yinchunan | cold desert climate (BWk) has distinct seasons, with dry, cold winters, late springs, and short summers. Dry/ arid/ hot | Materials like concrete with moderate thermal mass help balance temperature extremes in both seasons./ high mass
38. Tokyo | Humid subtropical, no dry season climate (Cfa). temprate/ no dry season/ hot summers. | Materials like concrete with moderate thermal mass help regulate temperature in Tokyo's varying climate./ light
39. Manila | tropical wet and dry climate and tropical monsoon (Aw). Dry winters | Materials like concrete with moderate thermal mass help stabilize temperature in a tropical climate./ light weight
40. Massakar | tropical monsoon climate (Am) | Materials like adobe or rammed earth with high thermal mass help absorb and release heat, stabilizing indoor temperatures./ light weight
BWh, BSk, CSa and BSh are important climatic groups of Iran
اقلیم بندی اشری
1A
1B
1B
2B
2B
3C
3A/3B
4A
4B
5A
5C
6A/6B/6C
6A/6B/6C
7A/7B/7C
7A/7B/7C
8